**HANABISHI**

**Hanabishi Window Type Airconditioner 2.5HP HWTAC25S**

HWTAC25S

₱27,370.00

Warranty: 5 year on motor compressor

* 2.5 hp
* Side vent
* Up to 42 sqm.
* 665x680x430 mm Dimension (LxWxH) (mm)

**OTHER DETAILS**

Weight 117 lbs

Dimensions 26 × 26.7 × 17 in

**Hanabishi Inverter Split Type Air Conditioner HSTINV25HP**

HSTINV25HP

₱46,315.00

* 2.5 HP
* With ionizer for cleaner air
* 3D airflow – 4-way air deflection system
* Easy to clean filter
* Microprocessor control
* Rotary compressor
* 24 hour ON / OFF timer
* Save up to 60% on energy consumption
* Quicker to achieve the desired temperature
* Quieter than normal split type
* Start-up time is reduced by 30%
* Eco friendly
* Auto restart
* Up to 42 sqm
* 1085x293x300 mm Dimension (LxWxH) (mm)

**OTHER DETAILS**

Weight 132 lbs

Dimensions 43 × 11.5 × 11.8 in

**Hanabishi Inverter Split Type Air Conditioner HMSTINV10ZEN**

HMSTINV10ZEN

₱29,470.00

* HP
* 3D air flow – 4 way air deflection system
* Save up to 60% on energy consumption
* 24 hour ON / OFF timer
* Microprocessor control
* Easy to clean filter
* Rotary compressor
* Hidden display board
* Auto restart
* indoor: 722 x 187 x 290mm
* outdoor: 681 x 285 x 434mm

**Hanabishi Inverter Window Type Airconditioner 1.0HP HWTINVAC10HP**

HWTINVAC10HP

₱28,420.00

* hp
* Rotary compressor
* Easy to clean filter
* 24 hour On/Off timer
* Save up to 60% on energy consumption
* 3D Airflow – 4 way air deflection system
* Microprocessor control
* Auto restart
* Energy saver
* With remote control
* 562x665x400 mm Dimension (LxWxH) (mm)

**OTHER DETAILS**

Weight 101 lbs

Dimensions 22 × 26 × 15.7 in

**Hanabishi Portable Air Conditioner HPORTAC10HP**

HPORTAC10HP

₱15,790.00

* Portable | 1 HP
* Easy cleaning filter
* Temperature sensor clamp
* Low noise design
* Manual swing function
* Auto-restart function
* Remote controlled
* Self-evaporative system
* Digital LCD display
* With timer | LED display
* 3 modes (cool,fan,dry)
* appropriate room size 8-10sqm
* Window installation kit included
* 355 x 345 x 703mm

**Hanabishi Split Type Air Conditioner HSTAC25HP**

HSTAC25HP

₱37,895.00

* 2.5 HP
* With ionizer – cleans air, healthy, good for skin
* 3D air flow – 4 way air deflection system
* Auto restart
* Easy to clean filter
* Microprocessor control
* Rotary compressor
* 24 hour ON / OFF timer
* Energy saver
* Eco friendly
* 1070x235x305 mm

**OTHER DETAILS**

Weight 123 lbs

Dimensions 37 × 15 × 27.5 in

**Hanabishi Window Type Airconditioner 0.6HP HWTAC06U**

HWTAC06U

₱8,950.00

Warranty: 5 years on compressor

* 0.6 hp
* Upper Vent
* Up to 12 sqm.
* 415x355x295 mm Dimension (LxWxH) (mm)

**OTHER DETAILS**

Weight 44 lbs

Dimensions 16.3 × 14 × 11.6 in

**Hanabishi Window Type Airconditioner 2.0HP HWTAC20S**

HWTAC20S

₱26,315.00

* 2.0 hp
* Side vent
* Up to 34.5 sqm.
* 5 year warranty on motor compressor
* 660x680x430 mmDimension (LxWxH) (mm)

**OTHER DETAILS**

Weight 117 lbs

Dimensions 26 × 26 × 17 in

**WHIRLPOOL**

**Whirlpool SAH09CIW**

SAH09CIW

₱38,998.00

* 6th Sense Technology
* Zen Inverter Technology
* HEPA Filter
* Anti-Bacterial Fin
* Remote Control
* Super Silent Mode
* Around U Mode
* Advanced Sleep Mode
* Rated Power Input: 1450W
* Color: White
* Indoor Unit Net Dimension H:W:D - 28:79.4:21.8 cm
* Outdoor Unit Net Dimension H:W:D - 48.2:66:24 cm
* Indoor Net Weight: 8.5kg
* Outdoor Net Weight: 22kg

**OTHER DETAILS**

Whirlpool 1.0 HP Premium Inverter Split type Aircon

**Whirlpool SIA90B IN**

SIA90B IN

₱36,998.00

* InverterPlus Technology
* Can save up to 60% energy consumption
* Energy Efficient R410a Refrigerant
* AccuTemp Control
* 1W Standby Power Consumption
* 3-in-1 Filtration System
* Auto Clean Function
* Self-Diagnosis Function
* Turbo Cooling Function
* Soft Start
* Gold Fin Condenser
* LED Display
* Remote Control
* Cooling Capacity: 9200 BTU/hr
* Cooling Rated Input: 812W
* Dimension HxWxD = 27 x 79 x 20.5 cm

**OTHER DETAILS**

Whirlpool 1.0 HP Inverter Split-Type Aircon, 11.09 EER

**CARRIER**

**Carrier Optima Green Non-Inverter Top Discharge**

WCARZ006EC1

₱13,200.00

Warranty: For parts and labor: 1 year, Compressor: 5 years, General Cleaning (within 1 year), Free General Cleaning

* Lowest wattage among window-type non-inverters
* 20% Wider Air Distribution for more efficient cooling
* Multi-Pore Air Filter keeps dust and pollution away

**WHAT’S IN THE BOX?**

AC unit

User manual

Mounting bracket

**PHYSICAL**

UNIT (W X H X D) 470 x 354 x 500 mm

NET WEIGHT 16.5 kg

COLOR White

**CAPACITY**

RECOMMENDED COOLING AREA 10 sqm

COOLING CAPACITY 5000 kJ/hr

POWER CONSUMPTION 495 Watts

ENERGY EFFICIENT RATIO 10.1 kJ/W-h

**Carrier Aura Non-Inverter Top Discharge**

WCARK008EE

₱19,400.00

Warranty: For parts and labor: 1 year, Compressor: 5 years, General Cleaning (within 1 year), Free General Cleaning

* Econo, Sleep, and Timer settings
* High EER at 12.1 kJ/WH (0.75HP) and 10.6 kJ/WH (1HP)
* Multi-Pore Air Filter keeps dust and pollution away
* With Remote Control

**WHAT’S IN THE BOX?**

AC unit

Remote

User manual

Mounting bracket

**PHYSICAL**

UNIT (W X H X D) 470 x 354 x 524 mm

NET WEIGHT 21.5 kg

COLOR White

**CAPACITY**

RECOMMENDED COOLING AREA 10 to 13 sqm

COOLING CAPACITY 7,000 kJ/hr

POWER CONSUMPTION 580 Watts

ENERGY EFFICIENT RATIO 12.1 kJ/W-h

**Carrier Aura Non-Inverter Side Discharge**

WCARJ008EE

₱21,000.00

Warranty: For parts and labor: 1 year, Compressor: 5 years, General Cleaning (within 1 year), Free General Cleaning

* Econo, Sleep, and Timer settings
* 8-in-1 Air Filter Technology
* High Energy Efficiency Ratio

**WHAT’S IN THE BOX?**

AC unit

Remote

User manual

**PHYSICAL**

UNIT (W X H X D) 470 x 330 x 605 mm

NET WEIGHT 28.3 kg

COLOR White

**CAPACITY**

RECOMMENDED COOLING AREA 10 to 13 sqm

COOLING CAPACITY 7,000 kJ/hr

POWER CONSUMPTION 670 Watts

ENERGY EFFICIENT RATIO 10.4 kJ/W-h

**Carrier Portable Aircon Non-Inverter**

PDCAR009CO

₱22,100.00

Warranty: For parts and labor: 1 year, Compressor: 5 years, General Cleaning (within 1 year), Free General Cleaning

* Install in four easy steps
* Uses R410a, a non-ozone depleting refrigerant

**WHAT’S IN THE BOX?**

AC unit

Manual

Remote

2 window slider plates

Exhaust hose

Foam seals

Window slider adaptor

Exhaust hose adaptor

Unit adaptor

Wall exhaust adaptor

Security bracket and screws

Power cord buckle

Drain hose

Extended exhaust hose

Bolt

Battery

Screw and anchor (only for wall and installation models)

**PHYSICAL**

UNIT (W X H X D) 454 x 700 x 265 mm

NET WEIGHT 29 kg

COLOR White

**CAPACITY**

RECOMMENDED COOLING AREA 19 sqm

COOLING CAPACITY 9500 kJ/hr

POWER CONSUMPTION 1300 Watts

ENERGY EFFICIENT RATIO 7.3 kJ/W-h

**Carrier Optima 2 Non Inverter**

FP-53CGF009308-1

₱31,100.00

Warranty: For parts and labor: 1 year, Compressor: 5 years, General Cleaning (within 1 year), Free General Cleaning

* Highest EER among non-inverters
* Temperature Control Sensor with "Follow Me" setting
* Noise Reduction Technology for powerful, quiet cooling
* Bio-filters to catch dust that carries fungi and bacteria
* Optimal features that give a relaxing, cooling experience

**WHAT’S IN THE BOX?**

Outdoor Aircon Unit and Indoor Aircon Unit Indoor Aircon Unit box includes: AC unit

Remote Control

Remote Control Holder

2 pc Battery (AAA)

User Manual

Warranty Certificate

**PHYSICAL**

INDOOR UNIT (W X H X D) 715 x 285 x 194 mm

OUTDOOR UNIT (W X H X D) 700 x 500 x 275 mm

NET WEIGHT 36 kg

COLOR White

**CAPACITY**

RECOMMENDED COOLING AREA 19 sqm

COOLING CAPACITY 9600 kJ/hr.

**Carrier Crystal 2 Inverter**

FP-53GCVBS010-303P

₱39,800.00

Warranty: For parts and labor: 1 year, Compressor: 5 years, General Cleaning (within 1 year), Free General Cleaning

* Unique Magic Coil that protects against oil and dust
* Self Cleaning Function that prevents mold & germs build-up

**WHAT’S IN THE BOX?**

Outdoor Aircon Unit and Indoor Aircon Unit Indoor Aircon Unit box includes: AC unit

Remote Control

Remote Control Holder

2 pc Battery (AAA)

User Manual

Warranty Certificate

**PHYSICAL**

INDOOR UNIT (W X H X D) 798 x 240 x 293 mm

OUTDOOR UNIT (W X H X D) 660 x 240 x 530 mm

NET WEIGHT 34 kg

COLOR White

**CAPACITY**

RECOMMENDED COOLING AREA 22 sqm

**Carrier Klarwind Duo Inverter**

FP-53ZKV032WZ6U-S

₱100,000.00

Warranty: For parts and labor: 1 year, Compressor: 5 years, General Cleaning (within 1 year), Free General Cleaning

* Dual-Structured Fan that blows faster, farther, and wider
* Triple Air Purification System
* 18-Step Control Touch Panel

**WHAT’S IN THE BOX?**

Outdoor Aircon Unit and Indoor Aircon Unit Indoor Aircon Unit box includes: Indoor AC Unit

Remote Control

Remote Control Holder

2 pcs Batteries (AAA) User Manual

Warranty Certificate

You are viewing product specifications for the Carrier Klarwind Duo Inverter2.5HP

**PHYSICAL**

INDOOR UNIT (W X H X D) 360 x 1856 x 251 mm

OUTDOOR UNIT (W X H X D) 845 x 702 x 363 mm

NET WEIGHT 71 kg

COLOR White

**CAPACITY**

RECOMMENDED COOLING AREA 50 sqm

**Carrier Klarwind Inverter**

FP-53TKV024-WTHP

₱102,000.00

Warranty: For parts and labor: 1 year, Compressor: 5 years, General Cleaning (within 1 year), Free General Cleaning

* Innovative swivel head that turns up to 270°
* 3-Step Filter System that cools and cleans air
* High Energy Efficiency Ratio (EER) of up to 18 ky/WH
* Slimmest floor-mounted AC to-date

**WHAT’S IN THE BOX?**

Outdoor Aircon Unit and Indoor Aircon Unit Indoor Aircon Unit box includes: Indoor AC Unit

Remote Control

Remote Control Holder

2 pcs Batteries (AAA) User Manual

Warranty Certificate

**PHYSICAL**

INDOOR UNIT (W X H X D) 340 x 1884 x 340 mm

OUTDOOR UNIT (W X H X D) 900 x 820 x 320 mm

NET WEIGHT 77 kg

COLOR White

**CAPACITY**

RECOMMENDED COOLING AREA 46 sqm

**Carrier XPower 2 Slimpac Inverter Air Conditioner**

FP-53SKV030-WP8T

₱120,000.00

Warranty: For parts and labor: 1 year, Compressor: 5 years, General Cleaning (within 1 year), Free General Cleaning

* High Energy Efficiency Ratio (EER) of up to 17.7 ky/WH
* Quick Cooling Performance
* Auto Shutter Design
* Slim & Sleek Design

**What’s in the box?**

Outdoor Aircon Unit and Indoor Aircon Unit Indoor Aircon Unit box includes: Indoor AC Unit

Remote Control

Remote Control Holder

2 pcs Batteries (AAA) User Manual

Warranty Certificate

**PHYSICAL**

INDOOR UNIT (W X H X D) 480 x 1850 x 280 mm

OUTDOOR UNIT (W X H X D) 900 x 820 x 320 mm

NET WEIGHT 82 kg

COLOR White

**CAPACITY**

RECOMMENDED COOLING AREA 59 sqm

**Carrier Window Type Aircon Inverter**

WCARH009EEV

₱41,100.00

Warranty: For parts and labor: 1 year, Compressor: 5 years, General Cleaning (within 1 year), Free General Cleaning

* At least 40% REAL inverter savings on energy consumption
* 6 energy savings features to further reduce electrical costs
* 7 protection features and 7 convenience features
* 8-in-1 Air Filter Technology

**WHAT’S IN THE BOX?**

AC unit

LCD remote

User manual

Mounting bracket

Drain pan

2pcs AAA battery

**PHYSICAL**

UNIT (W X H X D) 560 x 375 x 637 mm

NET WEIGHT 36 kg

COLOR White

**CAPACITY**

RECOMMENDED COOLING AREA 20 sqm

**Carrier Slimpac Inverter**

FP-53CFV036308-1

₱151,000.00

Warranty: For parts and labor: 1 year, Compressor: 5 years, General Cleaning (within 1 year), Free General Cleaning

* Energy-saving
* Self-Diagnostic Feature to help ensure durability
* 20% Higher Airflow vs. other floor-mounted ACs

**WHAT’S IN THE BOX?**

Outdoor Aircon Unit and Indoor Aircon Unit Indoor Aircon Unit box includes: AC unit

Remote Control

Remote Control Holder

2 pc Battery (AAA)

User Manual

Warranty Certificate

**PHYSICAL**

INDOOR UNIT (W X H X D) 585 x 1830 x 405 mm

OUTDOOR UNIT (W X H X D) 1030 x 810 x 420 mm

NET WEIGHT 120 kg

COLOR White

**CAPACITY**

RECOMMENDED COOLING AREA 76 sq